## Summary
EMERGENCY PREPAREDNESS DASHBOARD
Document ID: MISAFE-IMS-TMP-040-V1.0 ¦ Version: 1.0 ¦ As at: Live (uses today's date)
| Drill Status | Count | Equipment Inspection Status | Count
| Current | 3 | Current | 7
| Due Soon (next 30 days) | 0 | Due Soon (next 14 days) | 2
| Overdue | 2 | Overdue | 1
| Scenarios listed (no drill scheduled yet) | 1 | Defective or out of service | 0
| Total scenarios on register | 6 | Total equipment items | 10
| Drill Corrective Actions | Count | Exercise Types Completed | Count
| Open | 2 | Full evacuation drills | 1
| In Progress | 1 | Desktop exercises | 3
| Closed | 2 | Practical rescue exercises | 1
| Overdue actions (due < today, not closed) | 1 | Plan revisions triggered by drills | 2
Counts update automatically from the Drill Register and Equipment Register tabs using today's date. Anything Overdue is flagged orange and must be actioned before the next QHSE leadership meeting. Take this dashboard, the last three drill debriefs and the equipment register into Management Review as the evidence for ISO 45001 Clause 8.2 and WHS Regulation 43.
Copyright © MiSAFE Solutions Pty Ltd.

## Drill Register
EMERGENCY PREPAREDNESS AND DRILL REGISTER
Document ID: MISAFE-IMS-TMP-040-V1.0 ¦ Version: 1.0 ¦ Issue Date: [Insert] ¦ Next Review: [Insert]
Owner: [Insert Responsible Position] ¦ Approved By: [Insert] ¦ References: WHS Reg 2011 r43; ISO 45001 Cl 8.2; ISO 14001 Cl 8.2; AS 3745-2010
No. | Site / Location | Emergency Scenario | Exercise Type | Linked Risk Register Entry | Drill Frequency | Last Drill Date | Next Drill Due | Drill Status | Drill Leader (Position) | Participants (No.) | Evacuation Time (min) | What Worked | What Failed / Lessons | Corrective Action | Action Owner (Position) | Action Due | Action Status | Emergency Plan Revised (Y/N)
1 | Depot (Main Yard) | Fire | Full evacuation drill | RR-004 Fire in workshop | Annual | 2026-03-17 | 2027-03-17 | Current | Chief Warden | 28 | 3.5 | All staff reached the assembly point; wardens swept the workshop and amenities; headcount completed in under 4 minutes. | Visitor register was not taken to the assembly point, so two visitors could not be accounted for until the receptionist returned. | Add visitor register to the Chief Warden grab pack; brief reception at next toolbox. | QHSE Manager | 2026-04-10 | Closed | Y
2 | Site A (Road Corridor) | Medical emergency (remote) | Desktop exercise | RR-019 Remote medical emergency | At mobilisation | 2026-07-02 | 2026-08-30 | Overdue | Site Supervisor | 9 |  | First aider located the trauma kit quickly; emergency services call script used correctly. | Nobody could give the emergency services operator a GPS reference or the nearest access gate. Nearest hospital not listed on the site emergency sheet. | Add GPS coordinates and access gate to every site emergency response sheet; install What3words on supervisor phones. | Site Supervisor | 2026-08-15 | In Progress | N
3 | Site B (Pump Station) | Confined space rescue | Practical exercise (rescue team) | RR-022 Confined space entry | Six-monthly | 2026-05-20 | 2026-11-20 | Current | Confined Space Supervisor | 6 |  | Rescue tripod and winch deployed within target time; standby person raised the alarm as trained. | Rescue harness on the standby kit was outside its inspection date. | Add rescue kit to Equipment Register with monthly check; replace harness. | QHSE Manager | 2026-06-05 | Closed | N
4 | Depot (Refuelling Bay) | Fuel spill to stormwater | Desktop exercise | RR-031 Hydrocarbon spill | Annual | 2026-08-26 | 2027-08-26 | Current | Environmental Coordinator | 7 |  | Team identified the stormwater pit and the drain cover within 30 seconds. | Spill kit had been raided for absorbent pads and held no drain cover. Spill kit contents not matched to the SDS for diesel and hydraulic oil. | Restock spill kit; add monthly spill kit check; issue restock request card inside kit lid. | Environmental Coordinator | 2026-09-12 | Open | Y
5 | Site C (Bushfire Prone) | Bushfire threat | Desktop exercise | RR-040 Bushfire | Annual (pre-season) | 2025-09-15 | 2026-09-01 | Overdue | Site Supervisor | 11 |  | Crew understood the trigger to stop work at Catastrophic fire danger rating. | Evacuation route relied on a single access road; no alternative identified. OVERDUE example: this drill was due before the current fire season. | Identify and sign alternative egress; agree trigger points with the principal contractor; rerun before 30 September. | Project Manager | 2026-09-30 | Open | N
6 | Depot (Office) | Armed intruder / threat | Desktop exercise | RR-044 Violence and aggression | Two-yearly |  |  |  | Office Manager
Copyright © MiSAFE Solutions Pty Ltd.
Formulas:
Drill Status = IF([Next Drill Due]="","",IF([Next Drill Due]<TODAY(),"Overdue",IF([Next Drill Due]<=TODAY()+30,"Due Soon","Current")))

## Equipment Register
EMERGENCY EQUIPMENT INSPECTION REGISTER
Document ID: MISAFE-IMS-TMP-040-V1.0 ¦ Version: 1.0 ¦ Issue Date: [Insert] ¦ Next Review: [Insert]
Owner: [Insert Responsible Position] ¦ Approved By: [Insert] ¦ References: WHS Reg 2011 r42 and r43; AS 1851-2012; AS/NZS 2293.2; First Aid in the Workplace Code of Practice
No. | Site / Location | Equipment Type | Asset / Tag ID | Specific Location | Quantity | Standard / Requirement | Inspection Interval | Last Inspection | Next Inspection Due | Inspection Status | Inspected By (Position / Contractor) | Condition / Result | Consumable Expiry (if any) | Comments / Actions
1 | Depot (Main Yard) | Fire extinguisher (ABE dry powder) | FE-001 | Workshop, east wall near welding bay | 1 | AS 1851-2012 six-monthly service | Six-monthly | 2026-06-10 | 2026-12-10 | Current | Fire services contractor | Serviceable |  | Tag current. Next pressure test due 2028.
2 | Depot (Main Yard) | Fire hose reel | HR-001 | Workshop roller door, north | 1 | AS 1851-2012 six-monthly service | Six-monthly | 2026-02-20 | 2026-08-20 | Overdue | Fire services contractor | Serviceable |  | OVERDUE example: contractor visit missed. Book service this week.
3 | Depot (Office) | First aid kit (Workplace Type B) | FA-001 | Reception, wall mounted | 1 | First Aid in the Workplace Code of Practice | Monthly | 2026-08-28 | 2026-09-28 | Current | Nominated First Aider | Restocked | 2027-03-31 | Saline and eye pads replaced. Earliest consumable expiry March 2027.
4 | Depot (Office) | Automated external defibrillator | AED-001 | Reception, next to first aid kit | 1 | Manufacturer instructions; monthly indicator check | Monthly | 2026-08-28 | 2026-09-28 | Current | Nominated First Aider | Ready (green indicator) | 2027-11-30 | Pads expire November 2027; battery expiry logged in comments.
5 | Depot (Refuelling Bay) | Spill kit (hydrocarbon, 240 L) | SK-001 | Refuelling bay, wheelie bin | 1 | Matched to SDS for diesel and hydraulic oil | Monthly | 2026-08-26 | 2026-09-26 | Current | Environmental Coordinator | Restocked after drill |  | Drain cover added. Restock card inside lid.
6 | Site A (Road Corridor) | First aid kit (Vehicle / remote) | FA-007 | Supervisor vehicle, rear cabin | 1 | Remote work first aid, includes trauma module | Monthly | 2026-08-14 | 2026-09-14 | Due Soon | Site Supervisor | Serviceable | 2026-12-31 | Snake bite bandages checked. Add GPS card to kit.
7 | Site B (Pump Station) | Confined space rescue kit (tripod, winch, harness) | CSR-002 | Site container, shelf 2 | 1 | AS 2865; harness inspection per AS/NZS 1891.4 | Monthly | 2026-08-20 | 2026-09-20 | Due Soon | Confined Space Supervisor | Harness replaced |  | Harness manufacture date recorded. Six-monthly competent person inspection also due.
8 | Depot (Main Yard) | Emergency and exit lighting | EL-Depot | Workshop and office, all exits | 14 | AS/NZS 2293.2 six-monthly 90-minute discharge test | Six-monthly | 2026-04-08 | 2026-10-08 | Current | Electrical contractor | 2 fittings failed, replaced |  | Log book kept in switchboard cupboard.
9 | Depot (Main Yard) | Eyewash station (plumbed) | EW-001 | Chemical store entry | 1 | Weekly flush; monthly inspection | Monthly | 2026-08-31 | 2026-09-30 | Current | Store Person | Serviceable |  | Flush log maintained on tag.
10 | Depot (Office) | Emergency assembly point signage and evacuation diagrams | SIGN-01 | Every exit and assembly point | 6 | AS 3745-2010 evacuation diagrams (review every 5 years or on change) | Annual | 2026-01-15 | 2027-01-15 | Current | Chief Warden | Current |  | Review if floor layout changes.
Copyright © MiSAFE Solutions Pty Ltd.
Formulas:
Inspection Status = IF([Next Inspection Due]="","",IF([Next Inspection Due]<TODAY(),"Overdue",IF([Next Inspection Due]<=TODAY()+14,"Due Soon","Current")))

## Instructions
INSTRUCTIONS - EMERGENCY PREPAREDNESS AND DRILL REGISTER
Document ID: MISAFE-IMS-TMP-040-V1.0 ¦ Version: 1.0
Purpose
This workbook is the single record that your emergency preparedness plan exists, is built from your risks, is tested on a schedule and is revised after every test. It supports the emergency plan duty in regulation 43 and the first aid duty in regulation 42 of the model Work Health and Safety Regulations 2011 (and the equivalent Victorian OHS provisions), ISO 45001:2018 Clause 8.2, ISO 14001:2015 Clause 8.2 and AS 3745-2010 Planning for Emergencies in Facilities.
Drill Register
Step 1. List every credible emergency scenario for every site or location, one row each, and link it to the risk register entry it comes from. Scenarios that are not on your risk register are a sign the risk register is incomplete.
Step 2. Set the exercise type (full or partial evacuation drill, desktop exercise, practical rescue exercise) and the frequency. Enter the Last Drill Date and the Next Drill Due date. Drill Status calculates automatically: Current, Due Soon (within 30 days) or Overdue.
Step 3. After every drill or real event, record the leader, participants, evacuation time, what worked and what failed. Raise a corrective action with an owner and a due date, track it to Closed, and record whether the emergency plan was revised. This debrief trail is the evidence auditors and regulators ask for.
Equipment Register
Step 4. List every item of emergency equipment across every site: extinguishers, hose reels, fire blankets, first aid kits, defibrillators, spill kits, eyewash stations, emergency lighting, rescue kits, emergency signage and communications. Record the standard that governs its inspection, the interval, the last inspection and the next due date. Inspection Status calculates automatically: Current, Due Soon (within 14 days) or Overdue.
Step 5. Record consumable expiry dates (first aid stock, defibrillator pads and batteries, absorbents) so restocking is planned rather than discovered during an emergency. Expiry dates within 60 days highlight yellow.
Review cycle
Review the Summary tab weekly. Review both registers monthly at the QHSE leadership meeting: overdue drills, overdue inspections, open corrective actions and plan revisions. Take the dashboard and the last three drill debriefs into Management Review under ISO 45001 Clause 9.3.
Status definitions
Current: next due date is more than the warning period away. Due Soon: within 30 days (drills) or 14 days (equipment). Overdue: next due date has passed. Corrective action statuses: Open (raised, not started), In Progress (assigned and being worked), Closed (complete with evidence), Not Required.
Sample data
The pre-filled rows are worked examples for an Australian civil contractor with a depot and three sites. Overwrite them with your own sites, scenarios and equipment. Dates in the examples are illustrative only.
Document Control
Any change to this register triggers a version increment. Minor edits increase the decimal (V1.1). Structural changes such as new columns increase the whole number (V2.0). Archive superseded versions; never delete them.
Copyright © MiSAFE Solutions Pty Ltd.

## Copyright & Disclaimer
COPYRIGHT & DISCLAIMER
Copyright
© MiSAFE Solutions Pty Ltd ¦ ABN 12 602 392 343 ¦ Sunshine Coast QLD 4560 ¦ contact@misafesolutions.com.au. All rights reserved.
Disclaimer
This template is provided by MiSAFE Solutions Pty Ltd as a general-purpose tool to assist Australian businesses with their Quality, Health, Safety and Environmental (QHSE) management activities. It is provided on an "as is" basis without warranty of any kind, express or implied. MiSAFE Solutions does not accept any liability for any direct, indirect, incidental, consequential or other loss or damage arising from the use of, or reliance on, this template.
Users are responsible for ensuring the template suits their specific business context, operational risk profile, and applicable legal, regulatory and contractual obligations. The template does not constitute legal, financial or specific safety advice.
For tailored advice, implementation support or to adapt this template to your business, contact MiSAFE Solutions at contact@misafesolutions.com.au or book a free 45-minute consultation at https://calendly.com/misafe/45-min-consultation-meeting.
© MiSAFE Solutions Pty Ltd ¦ ABN 12 602 392 343 ¦ Sunshine Coast QLD 4560 ¦ contact@misafesolutions.com.au. All rights reserved.